## Door Schedule w_ Images
DOOR SCHEDULE
IMAGE |  |  |  | LEAF SIZE |  |  | DOOR STYLE |  |  |  |  | DOOR FRAME |  | DETAILS |  | FIRE RATING |  | DOOR DATA |  |  |  | LOCATION
|  | Mark |  | Width | Height | Thickness | Operation | Panel Style | Material | Finish | Glaz. Style | Material | Finish | Head Detail | Jamb Detail | Frame | Door Slab | Mfr | Model No. | HW Set | Accessories |  | Comments
|  |  | 0 | 60.5 | 98.4167 | 1.7188 |  | 12 | 6 |  |  | 6 | 6 | 4 | 4 | 6 | 6 |  |  | 12
| D | 1 |  | 3 | 6.6667 | 0.14583 | Swing | Solid | WOOD | PNT. Match Adjacent Surface. | None | HM | PNT (P-x) | 16/A7.1 | 17/A7.1 | 60 Min. | 60 Min. |  |  | DHW-A | 10" Kickplate, Gasket | Utility Clo.
| D | 2 |  | 2.8333 | 8 | 0.14583 | Swing | Solid | WOOD | PNT (P-X) | Temp, Clear | ALUM | CLR. ANON. | 16/A7.1 | 17/A7.1 | Non-Rated | Non-Rated | WILSON PARTITIONS 200 SERIES | NARROW STILE, 1.5" TRIM | DHW-B | Acoustical gasket, Wall stop. | COUNSELING RM. | STC-42, 3'-0" TRANSOM
| D | 3 |  | 2.8333 | 8 | 0.14583 | Swing | Solid | WOOD | PNT (P-X) | Temp, Clear | ALUM | CLR. ANON. | 16/A7.1 | 17/A7.1 | Non-Rated | Non-Rated | WILSON PARTITIONS, SERIES 200 | NARROW STILE, 1.5" TRIM | DHW-B | Acoustical gasket, wall stop. | OFFICE 'B' | STC-42, 3'-0" TRANSOM
| D | 4 |  | 2.8333 | 8 | 0.14583 | Swing | Solid | WOOD | PNT (P-X) | Temp, Clear | ALUM | CLR. ANON. | 16/A7.1 | 17/A7.1 | Non-Rated | Non-Rated | WILSON PARTITIONS, SERIES 200 | NARROW STILE, 1.5" TRIM | DHW-B | Acoustical gasket, wall stop. | OFFICE 'B' | STC-42, 3'-0" TRANSOM
| D | 5 |  | 15 | 11.75 | 0.14583 | Swing | Glass | GLASS | CLEAR | Temp, Clear | ALUM. | CLR. ANON. |  |  | Non-Rated | Non-Rated | WILSON PARTITIONS | NARROW STILE | DHW-C | Gasket and Wallstops | COMM. TABLE | 3'-0" TRANSOM, SAFETY VINYL DECAL, NIC.
| D | 6 |  | 15 | 11.75 | 0.14583 | Swing | Glass | GLASS | CLEAR | Temp, Clear | ALUM. | CLR. ANON. |  |  | Non-Rated | Non-Rated | WILSON PARTITIONS | NARROW STILE | DHW-C | Gasket and Wallstops | COMM. TABLE | 3'-0" TRANSOM, SAFETY VINYL DECAL, NIC.
| D | 7 |  | 3.6667 | 8.8333 | 0.14583 | Swing | Glass |  |  | - | [8 empty] | Existing |  | ENTRY. SEE NOTE 2. | EXISTING. SEE NOTE 2.
| D | 8 |  | 3 | 6.6667 | 0.14583 | Swing | Solid |  |  | - | [8 empty] | - |  | RESTROOM(MENS) | EXISTING. NO CHANGE.
| D | 9 |  | 3 | 6.6667 | 0.14583 | Swing | Solid |  |  | - | [8 empty] | - |  | RESTROOM (WOMENS) | EXISTING. NO CHANGE.
| D | 10 |  | 3 | 6.6667 | 0.14583 | Swing | Solid |  |  | - | [8 empty] | - |  | JAN. CLO. | EXISTING. NO CHANGE.
| D | 11 |  | 3.3333 | 6.6667 | 0.11458 | Swing | Solid |  |  | - | [8 empty] | - |  | FIRE EXIT. | EXISTING. NO CHANGE.
| D | 12 |  | 3 | 8.75 | 0.14583 | Swing | Glass |  |  | - | [8 empty] | - |  |  | EXISTING. NO CHANGE.